## Sheet1
1 | Overall Energy Demand
| Type of property | Tick 1 Box | 20% < NZEB level |  | Energy Balance before renovation | Calculated Energy Balance after renovation
[5 empty] | "EPRDM" in "result" tab from | "EPRDM" in "result" tab from renovated xml
[5 empty] | existing xml | (must be less than value in 20% < NZEB level)
|  |  | Without RES | With RES | Insert value in corresponding box | Insert value in corresponding box
| Terraced House |  | 56kWh/m².yr | 32kWh/m².yr
| Fully Detached Villa |  | 56kWh/m².yr | 32kWh/m².yr
| Fully Detached Bungalow |  | 56kWh/m².yr | 32kWh/m².yr
| Semi-Detached Villa |  | 48kWh/m².yr | 32kWh/m².yr
| Ground Floor Maisonette |  | 60kWh/m².yr | 60kWh/m².yr
| Mid-Floor Flat |  | 48kWh/m².yr | 48kWh/m².yr
| Top Floor Flat/ Maisonette |  | 64kWh/m².yr | 52kWh/m².yr
2 | Delivered energy demand for space heating
| Systems Tab: | Set "Space Heating" -> "Efficiency of Heating System (COP)" to "1"
| Systems Tab: | Set "Lighting" -> "Proportion of Energy Efficient Lighting" to "0.8"
| Insert "Delivered Energy" for "Space Heating" in Results tab for Renovated Building | [5 empty] | kWh/m².yr
3 | Delivered energy demand for space cooling
Insert "Delivered Energy" for "Space cooling" in Results tab for renovated building
| (EER for cooling system and proportion of Energy Efficient lighting for proposed renovated building to be used) | [5 empty] | kWh/m².yr
4 | Compliance with Document F
Confirm that Building is compliant with Energy perfomance requirements for renovations (Document F)
5 | Energy Efficient Lighting
Indicate Proportion of existing energy efficient lighting
Indicate Proportion of proposed energy efficient lighting for renovated building (Must be > 0.8)
6 | Water heating
Indicate the existing type of system for water heating
Indicate the proposed type of system for water heating